## ActualShading
For actual panel location
|  |  | Fixed Panel |  |  | Hours of sun exposure
|  |  | Derating due | Dec | Nov | Oct | Sep | Aug | Jul | Full
|  | Azimuth | to angle | Jan | Feb | Mar | Apr | May | Jun | Year
East | 90-120 | 105 | 25.88% | 0 | 0 | 0 | 0 | 0.4 | 0.4
| 120-150 | 135 | 70.71% | 0 | 0 | 0 | 1 | 1.2 | 1.2
| 150-180 | 165 | 96.59% | 0 | 0.5 | 0 | 1.2 | 1.2 | 1.2
| 180-210 | 195 | 96.59% | 0.1 | 1 | 2 | 1.2 | 1.2 | 1.2
| 210-240 | 225 | 70.71% | 0 | 0.5 | 1 | 1.2 | 1.2 | 1.2
West | 240-270 | 255 | 25.88% | 0 | 0 | 0 | 1 | 1.2 | 1.2
Hrs/day |  |  |  | 0.1 | 2 | 3 | 5.6 | 6.4 | 6.4
Hrs*Eff*days | kWh/panel rated kW |  |  | 5.8921 | 109.949 | 160.9765 | 252.0932 | 270.1927 | 270.1927 | 1069.2962 | kWh/kW/yr | cloud-free potential
Derating due to weather |  |  |  | 11.55% | 24.32% | 37.4% | 65.84% | 98.09% | 99%
Actual production kWh/kW |  |  |  | 0.6807 | 26.737 | 60.2051 | 165.9733 | 265.0261 | 267.4908 | 786.1131 | kWh/kW/yr | due to clouds
[10 empty] | 65.15% | of perfect exposure
[7 empty] | Assuming power cost of: | 0.145 | $/kWh
[7 empty] | Annual savings would be : | 113.9864 | $/kW/yr
[7 empty] | Assuming installed cost is: | 2.2 | $/W
[7 empty] | Simple payback would be | 19.3005 | years

## PerfectExposure
For Sunshine Coast panel location with full sun (no shade) all day, all year
|  |  | Fixed Panel |  |  | Hours of sun exposure
|  |  | Derating due | Nov-Dec | Oct-Nov | Sep-Oct | Aug-Sep | Jul-Aug | Jun-Jul | Full
|  | Azimuth | to angle | Dec-Jan | Jan-Feb | Feb-Mar | Mar-Apr | Apr-May | May-Jun | Year
East | 90-120 | 105 | 25.88% | 0 | 0.5 | 2 | 2.2 | 2.3 | 2.5
| 120-150 | 135 | 70.71% | 2 | 2.2 | 2 | 1.8 | 1.5 | 1.5
| 150-180 | 165 | 96.59% | 2.1 | 2 | 1.8 | 1.5 | 1.2 | 1
| 180-210 | 195 | 96.59% | 2.1 | 2 | 1.8 | 1.5 | 1.2 | 1
| 210-240 | 225 | 70.71% | 2 | 2.2 | 2 | 1.8 | 1.5 | 1.5
West | 240-270 | 255 | 25.88% | 0 | 0.5 | 2 | 2.2 | 2.3 | 2.5
Hrs/day |  |  |  | 8.2 | 9.4 | 11.6 | 11 | 10 | 10
Hrs*Eff*days |  |  |  | 420.0043 | 441.2613 | 447.8032 | 401.5121 | 343.4367 | 326.1833 | 2380.2009 | kWh/kW/yr | cloud-free potential
Derating due to weather |  |  |  | 11.55% | 24.32% | 37.4% | 65.84% | 90% | 95%
Actual production kWh/kW |  |  |  | 48.5217 | 107.3043 | 167.4783 | 264.3478 | 309.093 | 309.8741 | 1206.6193 | kWh/kW/yr | due to clouds
[7 empty] | Assuming power cost of: | 0.145 | $/kWh
[7 empty] | Annual savings would be : | 174.9598 | $/kW/yr
[7 empty] | Assuming installed cost is: | 2.2 | $/W
[7 empty] | Simple payback would be | 12.5743 | years